"These data are property of Rosetta Inpharmatics, Inc., 12040 - 115th Ave. NE, Kirkland, WA 98034-6900.  www.rii.com  All rights reserved.  Your use of this data may only occur pursuant to a written license agreement between you (or your employer) and Rosetta Inpharmatics."

# Error Model

Errors in the measurements of expression ratio are estimated using control experiments where two nominally identical RNA samples are independently prepared and labeled with two different fluors.  The resulting distribution of log(expression ratio) provides a model for the error distribution.  Experiments are all done in fluor-reversed pairs of two-color hybridizations, so the log(expression ratio) profiles from the controls are differenced in pairs.  The error distribution widens with decreasing intensity (lower transcript abundance), and the error model fits this intensity dependence closely with a combination of an additive normal intensity component representing background subtraction uncertainties, and a multiplicative (lognormal) error component representing phenomena like non-uniformity of labeling and hybridization efficiency, scanner gain fluctuations, and subtle differences in the biology of nominally identical culture samples.  Genes which exhibit a variance in the control experiments larger than the mean variance for their abundance are assigned proportionately larger standard errors.  Genes which exhibit a variance smaller than the mean are conservatively assigned the mean variance.  63 of these control pairs interleaved in epoch with the actual experiments were used to generate the error model.  The distribution of error magnitudes with respect to the model intensity-dependent variance was observed to be closely normal, so significance values ultimately are derived using the Gaussian error function of the ratio of observed expression ratio to model error.

Error Model Description

The repeatability of each gene’s measured expression change across multiple nominally identical independent experiments is the strongest input to the assignment of confidence value.  However, in order to average repeated experiments with appropriate relative weights, a model for the uncertainties in individual array experiments is required.  Also, there is a problem dealing with log(expression) when background-subtracted intensities corresponding to weakly expressed genes can be negative.

We have adopted a single-array error model form which solves these two problems.  Although inelegant, it fits the errors and their physical origins better than the ratio distribution suggested in http://www.nhgri.nih.gov/DIR/LCG/15K/HTML/img_analysis.html .

It assumes a combination of additive and multiplicative error components in both channels of a two-color experiment.  The statistic used to define significance is

X = (a2 - a1) / [12 + 22 + f 2 (a12 + a22 )]1/2				(1)

where a1,2 are the intensities measured in the two channels for each spot, 1,2 are the uncertainties due to background subtraction, and f is a fractional multiplicative error such as would come from hybridization non-uniformities, fluctuations in the dye incorporation efficiency, scanner gain fluctuations, etc.  We have found that X is approximately normal.  and f are chosen so that X has unit variance and tracks the increase in fractional error toward lower-intensity spots – see Figure 1.  tends to vary from array to array and so is derived for each array based on the background fluctuation level.  f  tends to be fairly constant from array to array and is determined from control experiments where nominally the same sample is hybridized in both channels.

The two-sided probability for an observed regulation of magnitude |X| is then

P-Value = 2(1 - Erf(|X|))					(2)

The value of f adopted in the Cell publication actually turned out to be somewhat too conservative, as evidenced by the fact that false detection rates are lower than the P-Value would indicate – see for example the last row of values in Table 1.

For display and array averaging purposes it is useful to express measurements and errors in terms of log10(a2/a1).  This requires somewhat arbitrarily repairing negative values to a small positive value equal to a scanner raw count, and capping the resulting ratios at 100.   The uncertainty in the log(Ratio) is then defined as

 log10(a2/a1) = log10(a2/a1) / X					(3)

and this allows weighted combining of multiple observations of log(Ratio).  Measurements which come from faint spots near the background will have small values of X, large errors, and will be given low weight when combining repeated measurements.

Linear averaging of intensities, rather than averaging of the log(Ratio), is possible, but leads to poorer accuracy in technologies where the absolute intensity calibration is uncertain from array to array.

We use the minimum-variance weighted average to compute the mean log10(a2/a1) of each reported gene:

wi=1σi2                        (4)

x=i=1,nwixiwi                     (5)

Here i is the error of log10(a2/a1), xi stands for i-th measurement of log10(a2/a1), n is the number of repeats.

The error of xcan be computed in two ways.  One is to propagate the errors i , another is from the scatter of xi:

σp2=1wi                     (6)

σs2=1(n−1)wiwi(xi−x)2              (7)

The propagation error p relies totally on the error estimation of each individual slide, and therefore is subject to bias or systematic uncertainties. Whereas the error from the scatter of the data, s is an unbiased measure, but has large fluctuations when the number of repeats is small. Ideally, we would like to use p when there is only one measurement, and gradually shift to s when the number of repeats is large. We can accomplish that by doing a weighted mean of error. Statistically, the error of s is expressed as:

σσs=σs2(n−1)                         (8)

From Eq.8 we can conclude that the weight for combining is proportional to n. We therefore combine two errors as:

σx=σp+(n−1)σsn              (9)

Although the above procedure captures the increase of error toward low intensities (low abundance transcripts), and adapts to increased error levels in certain batches or epochs of experiments, it can underestimate the actual variance of individual genes due to inadequate sample size in the estimate of s. Equation (9) also ignores biological variation beyond the measurement uncertainty.  Therefore, a more robust gene-specific error can be defined when large sets of ‘same vs. same’ control experiments are available.  In this case,  a scale factor

Λ=std(xσx)           (10)

is computed  for each gene over all control experiments.  Genes with  greater than 1 have an inherent variance larger than that captured in (9), hence their errors from (9) are scaled by 

σx=Λσx                              (11)

The significance statistic X  then is computed as:

X=xσx                                (12)

where the larger variance value is used in the denominator, and the confidence is computed using Equation (2) above.  An example showing application of Equations (11) and (12) to a sample of the data is shown in Figure 2.

X = +2

X = -2

Figure 1.   Single-array error model contour fits control (same vs. same) two-color hybridization data.  Yeast full-genome array hybridized with wild-type strain samples labeled independently in two different fluors.  Horizontal axis is mean of log(Intensity) of the two channels.

SNO1

log10(ratio):  0.82

scale factor:  2.17

P-value (red):  0.00006

P-value (green): 0.0412

SNZ1

log10(ratio): .65

scale factor: 3.87

P-value (red): 0.0014

P-value (green): 0.1605

ZRT1

log10(ratio): -0.46

scale factor: 6.12

P-value (red): 0.0037

P-value (green): 0.6839

INO1

log10(ratio): -0.67

scale factor:  3.93

P-value (red): 0.0025

P-value (green): 0.1927

Figure 2.  Application of gene-specific errors to a sample of the data, in this case a comparison of two nominally identical wild-type cultures.  Red error bars are derived using equation (9), and represent measurement error only; green error bars incorporate equation (11), and thus include compensation for gene-specific fluctuations.  Significance estimates are calculated using equation (2) and (12).  Axes are as in Figure 1.